## Info
TEST REPORT
|  |  | 6_27_13_A123_K2_Cycle | [7 empty] | C:\ArbinSoftware\MITS_PRO\Data\6_27_13_A123_K2_Cycle.res
|  |  | 2013-06-28 |  |  |  | Mapped_Aux_Number |  |  |  |  | Log_Data_Flag |  |  |  | Cell Grading |  |  | Concentration | Digital I/O
Channel | Start_DateTime | Schedule_File_Name | Creator | Comments | Chan_Num | Item_ID | Volt | Temp | Pres | PH | FR | ChanStat | Aux | SmartBty | Event | Grade | Internal_Resistance(Ohm) | Discharge_Capacity(Ah) | Concentration | Digital Input | Digital Output | Related Humidity
1-010 | 2013-06-27 14:59 | A123_K2_Cycle.sdu |  |  | 16 |  | 0 | 0 | 0 | 0 | 0 | FALSE | FALSE | FALSE | FALSE |  |  |  | 0 | 0 | 0
Note on Q3: For Cell Grading setting, click Arbin Data\Options... menu.
Note on Q4: For Cell Grading data, check average value from statistical data sheets. Grade A1 is the best cell.

## Channel_1-010
Data_Point | Test_Time(s) | Date_Time | Step_Time(s) | Step_Index | Cycle_Index | Current(A) | Voltage(V) | Charge_Capacity(Ah) | Discharge_Capacity(Ah) | Charge_Energy(Wh) | Discharge_Energy(Wh) | dV/dt(V/s) | Internal_Resistance(Ohm) | Is_FC_Data | AC_Impedance(Ohm) | ACI_Phase_Angle(Deg)
1 | 30.0008 | 2013-06-27 15:00 | 30.0008 | 1 | 1 | 0 | 3.2931 | 0 | 0 | 0 | 0 | 3.2227e-05 | 0 | 0 | 0 | 0
2 | 60.0161 | 2013-06-27 15:00 | 60.0161 | 1 | 1 | 0 | 3.2929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 90.0319 | 2013-06-27 15:01 | 30.0154 | 2 | 1 | 2.4997 | 3.3597 | 0.02083 | 0 | 0.069772 | 0 | 0.00042033 | 0 | 0 | 0 | 0
4 | 120.0472 | 2013-06-27 15:01 | 60.0307 | 2 | 1 | 2.4996 | 3.367 | 0.041682 | 0 | 0.13992 | 0 | 0.00016216 | 0 | 0 | 0 | 0
5 | 150.0627 | 2013-06-27 15:02 | 90.0462 | 2 | 1 | 2.4996 | 3.3706 | 0.062524 | 0 | 0.21013 | 0 | 6.4897e-05 | 0 | 0 | 0 | 0
6 | 180.0776 | 2013-06-27 15:02 | 120.061 | 2 | 1 | 2.4999 | 3.3732 | 0.083354 | 0 | 0.28037 | 0 | 0.00012934 | 0 | 0 | 0 | 0
7 | 210.0935 | 2013-06-27 15:03 | 150.0769 | 2 | 1 | 2.4996 | 3.375 | 0.10421 | 0 | 0.35073 | 0 | 6.4495e-05 | 0 | 0 | 0 | 0
8 | 240.1084 | 2013-06-27 15:03 | 180.0919 | 2 | 1 | 2.4996 | 3.3767 | 0.12504 | 0 | 0.42105 | 0 | 6.4495e-05 | 0 | 0 | 0 | 0
9 | 270.1087 | 2013-06-27 15:04 | 210.0921 | 2 | 1 | 2.4997 | 3.3777 | 0.14588 | 0 | 0.49144 | 0 | 0 | 0 | 0 | 0 | 0
10 | 300.1236 | 2013-06-27 15:04 | 240.1071 | 2 | 1 | 2.4996 | 3.3785 | 0.16671 | 0 | 0.5618 | 0 | -3.2224e-05 | 0 | 0 | 0 | 0
11 | 330.1237 | 2013-06-27 15:05 | 270.1072 | 2 | 1 | 2.4997 | 3.3793 | 0.18755 | 0 | 0.63223 | 0 | -3.2325e-05 | 0 | 0 | 0 | 0
12 | 360.1388 | 2013-06-27 15:05 | 300.1223 | 2 | 1 | 2.4997 | 3.38 | 0.20838 | 0 | 0.70263 | 0 | 0 | 0 | 0 | 0 | 0
13 | 390.1548 | 2013-06-27 15:06 | 330.1382 | 2 | 1 | 2.4999 | 3.3806 | 0.22923 | 0 | 0.77312 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
14 | 420.17 | 2013-06-27 15:06 | 360.1535 | 2 | 1 | 2.4997 | 3.381 | 0.25008 | 0 | 0.84358 | 0 | 6.4697e-05 | 0 | 0 | 0 | 0
15 | 450.185 | 2013-06-27 15:07 | 390.1684 | 2 | 1 | 2.4997 | 3.3814 | 0.27091 | 0 | 0.91402 | 0 | 3.2324e-05 | 0 | 0 | 0 | 0
16 | 480.1852 | 2013-06-27 15:07 | 420.1686 | 2 | 1 | 2.4997 | 3.3818 | 0.29175 | 0 | 0.9845 | 0 | 0 | 0 | 0 | 0 | 0
17 | 510.2002 | 2013-06-27 15:08 | 450.1837 | 2 | 1 | 2.4999 | 3.3822 | 0.31258 | 0 | 1.0549 | 0 | 0 | 0 | 0 | 0 | 0
18 | 540.2162 | 2013-06-27 15:08 | 480.1996 | 2 | 1 | 2.4997 | 3.3827 | 0.33343 | 0 | 1.1255 | 0 | 0 | 0 | 0 | 0 | 0
19 | 570.2314 | 2013-06-27 15:09 | 510.2149 | 2 | 1 | 2.4997 | 3.3832 | 0.35428 | 0 | 1.196 | 0 | 3.2325e-05 | 0 | 0 | 0 | 0
20 | 600.2465 | 2013-06-27 15:09 | 540.2299 | 2 | 1 | 2.4997 | 3.3839 | 0.37511 | 0 | 1.2665 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
21 | 630.2466 | 2013-06-27 15:10 | 570.23 | 2 | 1 | 2.4997 | 3.3845 | 0.39595 | 0 | 1.337 | 0 | 3.2325e-05 | 0 | 0 | 0 | 0
22 | 660.2621 | 2013-06-27 15:10 | 600.2455 | 2 | 1 | 2.4999 | 3.3853 | 0.41679 | 0 | 1.4076 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
23 | 690.2773 | 2013-06-27 15:11 | 630.2608 | 2 | 1 | 2.4997 | 3.3858 | 0.43764 | 0 | 1.4781 | 0 | 0 | 0 | 0 | 0 | 0
24 | 720.2922 | 2013-06-27 15:11 | 660.2757 | 2 | 1 | 2.4997 | 3.3866 | 0.45843 | 0 | 1.5486 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
25 | 750.2927 | 2013-06-27 15:12 | 690.2761 | 2 | 1 | 2.4997 | 3.3873 | 0.47931 | 0 | 1.6193 | 0 | 0 | 0 | 0 | 0 | 0
26 | 780.308 | 2013-06-27 15:12 | 720.2914 | 2 | 1 | 2.4997 | 3.3881 | 0.50015 | 0 | 1.6899 | 0 | 0 | 0 | 0 | 0 | 0
27 | 810.323 | 2013-06-27 15:13 | 750.3065 | 2 | 1 | 2.4997 | 3.3889 | 0.52098 | 0 | 1.7605 | 0 | 0 | 0 | 0 | 0 | 0
28 | 840.3387 | 2013-06-27 15:13 | 780.3222 | 2 | 1 | 2.4997 | 3.3897 | 0.54184 | 0 | 1.8311 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
29 | 870.3543 | 2013-06-27 15:14 | 810.3377 | 2 | 1 | 2.4999 | 3.3907 | 0.56268 | 0 | 1.9018 | 0 | 3.2422e-05 | 0 | 0 | 0 | 0
30 | 900.3693 | 2013-06-27 15:14 | 840.3527 | 2 | 1 | 2.4997 | 3.3913 | 0.58351 | 0 | 1.9724 | 0 | 0 | 0 | 0 | 0 | 0
31 | 930.385 | 2013-06-27 15:15 | 870.3685 | 2 | 1 | 2.4999 | 3.3925 | 0.60436 | 0 | 2.0432 | 0 | 3.247e-05 | 0 | 0 | 0 | 0
32 | 960.4001 | 2013-06-27 15:15 | 900.3836 | 2 | 1 | 2.4999 | 3.3934 | 0.62519 | 0 | 2.1138 | 0 | 3.2472e-05 | 0 | 0 | 0 | 0
33 | 990.4159 | 2013-06-27 15:16 | 930.3994 | 2 | 1 | 2.4999 | 3.3942 | 0.64605 | 0 | 2.1846 | 0 | 0 | 0 | 0 | 0 | 0
34 | 1020.4309 | 2013-06-27 15:16 | 960.4144 | 2 | 1 | 2.4999 | 3.3952 | 0.66688 | 0 | 2.2553 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
35 | 1050.4466 | 2013-06-27 15:17 | 990.43 | 2 | 1 | 2.4997 | 3.396 | 0.68773 | 0 | 2.3261 | 0 | 0 | 0 | 0 | 0 | 0
36 | 1080.462 | 2013-06-27 15:17 | 1020.4454 | 2 | 1 | 2.4997 | 3.397 | 0.70857 | 0 | 2.3969 | 0 | 3.2325e-05 | 0 | 0 | 0 | 0
37 | 1110.4775 | 2013-06-27 15:18 | 1050.4609 | 2 | 1 | 2.4999 | 3.398 | 0.72942 | 0 | 2.4677 | 0 | 0 | 0 | 0 | 0 | 0
38 | 1140.4925 | 2013-06-27 15:18 | 1080.4759 | 2 | 1 | 2.4997 | 3.3991 | 0.75025 | 0 | 2.5385 | 0 | 6.4647e-05 | 0 | 0 | 0 | 0
39 | 1170.5083 | 2013-06-27 15:19 | 1110.4917 | 2 | 1 | 2.4997 | 3.4001 | 0.7711 | 0 | 2.6094 | 0 | 6.4448e-05 | 0 | 0 | 0 | 0
40 | 1200.523 | 2013-06-27 15:19 | 1140.5065 | 2 | 1 | 2.4997 | 3.4011 | 0.79187 | 0 | 2.6801 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
41 | 1230.5235 | 2013-06-27 15:20 | 1170.507 | 2 | 1 | 2.4997 | 3.4022 | 0.81278 | 0 | 2.7512 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
42 | 1260.5382 | 2013-06-27 15:20 | 1200.5216 | 2 | 1 | 2.4997 | 3.4033 | 0.83346 | 0 | 2.8215 | 0 | 6.485e-05 | 0 | 0 | 0 | 0
43 | 1290.5386 | 2013-06-27 15:21 | 1230.5221 | 2 | 1 | 2.4997 | 3.4045 | 0.85445 | 0 | 2.893 | 0 | 9.6672e-05 | 0 | 0 | 0 | 0
44 | 1320.5539 | 2013-06-27 15:21 | 1260.5373 | 2 | 1 | 2.5001 | 3.4059 | 0.87529 | 0 | 2.964 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
45 | 1350.5694 | 2013-06-27 15:22 | 1290.5528 | 2 | 1 | 2.4999 | 3.4071 | 0.89613 | 0 | 3.035 | 0 | 3.2473e-05 | 0 | 0 | 0 | 0
46 | 1380.5848 | 2013-06-27 15:22 | 1320.5683 | 2 | 1 | 2.4997 | 3.4085 | 0.91698 | 0 | 3.106 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
47 | 1410.6002 | 2013-06-27 15:23 | 1350.5837 | 2 | 1 | 2.4997 | 3.41 | 0.93782 | 0 | 3.1771 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
48 | 1440.6156 | 2013-06-27 15:23 | 1380.5991 | 2 | 1 | 2.4997 | 3.4114 | 0.95866 | 0 | 3.2481 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
49 | 1470.631 | 2013-06-27 15:24 | 1410.6145 | 2 | 1 | 2.4999 | 3.4132 | 0.9795 | 0 | 3.3193 | 0 | 6.485e-05 | 0 | 0 | 0 | 0
50 | 1500.6464 | 2013-06-27 15:24 | 1440.6299 | 2 | 1 | 2.4999 | 3.4148 | 1.0003 | 0 | 3.3904 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
51 | 1530.6618 | 2013-06-27 15:25 | 1470.6452 | 2 | 1 | 2.4999 | 3.4166 | 1.0212 | 0 | 3.4616 | 0 | 6.4898e-05 | 0 | 0 | 0 | 0
52 | 1560.677 | 2013-06-27 15:25 | 1500.6605 | 2 | 1 | 2.4999 | 3.4184 | 1.042 | 0 | 3.5328 | 0 | 6.4651e-05 | 0 | 0 | 0 | 0
53 | 1590.6926 | 2013-06-27 15:26 | 1530.6761 | 2 | 1 | 2.4999 | 3.4202 | 1.0629 | 0 | 3.6041 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
54 | 1620.7076 | 2013-06-27 15:26 | 1560.6911 | 2 | 1 | 2.4997 | 3.422 | 1.0837 | 0 | 3.6754 | 0 | 6.4448e-05 | 0 | 0 | 0 | 0
55 | 1650.7234 | 2013-06-27 15:27 | 1590.7068 | 2 | 1 | 2.4997 | 3.4239 | 1.1046 | 0 | 3.7467 | 0 | 9.6718e-05 | 0 | 0 | 0 | 0
56 | 1680.7384 | 2013-06-27 15:27 | 1620.7218 | 2 | 1 | 2.4999 | 3.4255 | 1.1254 | 0 | 3.8181 | 0 | 6.4447e-05 | 0 | 0 | 0 | 0
57 | 1710.7542 | 2013-06-27 15:28 | 1650.7377 | 2 | 1 | 2.4999 | 3.4273 | 1.1462 | 0 | 3.8895 | 0 | 6.4447e-05 | 0 | 0 | 0 | 0
58 | 1740.7691 | 2013-06-27 15:28 | 1680.7525 | 2 | 1 | 2.4999 | 3.4291 | 1.1671 | 0 | 3.961 | 0 | 6.4897e-05 | 0 | 0 | 0 | 0
59 | 1770.785 | 2013-06-27 15:29 | 1710.7685 | 2 | 1 | 2.4997 | 3.4307 | 1.1879 | 0 | 4.0325 | 0 | 9.6672e-05 | 0 | 0 | 0 | 0
60 | 1800.8004 | 2013-06-27 15:29 | 1740.7839 | 2 | 1 | 2.4997 | 3.4327 | 1.2088 | 0 | 4.104 | 0 | 9.7274e-05 | 0 | 0 | 0 | 0
61 | 1830.8154 | 2013-06-27 15:30 | 1770.7989 | 2 | 1 | 2.4997 | 3.4346 | 1.2296 | 0 | 4.1755 | 0 | 6.4651e-05 | 0 | 0 | 0 | 0
62 | 1860.8157 | 2013-06-27 15:30 | 1800.7991 | 2 | 1 | 2.4997 | 3.4366 | 1.2504 | 0 | 4.2471 | 0 | 6.4447e-05 | 0 | 0 | 0 | 0
63 | 1890.8305 | 2013-06-27 15:31 | 1830.814 | 2 | 1 | 2.4999 | 3.4387 | 1.2713 | 0 | 4.3188 | 0 | 0.00012936 | 0 | 0 | 0 | 0
64 | 1920.8463 | 2013-06-27 15:31 | 1860.8297 | 2 | 1 | 2.4996 | 3.4406 | 1.2921 | 0 | 4.3905 | 0 | 6.4497e-05 | 0 | 0 | 0 | 0
65 | 1950.8617 | 2013-06-27 15:32 | 1890.8451 | 2 | 1 | 2.4997 | 3.4429 | 1.313 | 0 | 4.4622 | 0 | 9.7021e-05 | 0 | 0 | 0 | 0
66 | 1980.8772 | 2013-06-27 15:32 | 1920.8606 | 2 | 1 | 2.4999 | 3.4455 | 1.3338 | 0 | 4.534 | 0 | 9.6973e-05 | 0 | 0 | 0 | 0
67 | 2010.8919 | 2013-06-27 15:33 | 1950.8753 | 2 | 1 | 2.4999 | 3.4484 | 1.3546 | 0 | 4.6058 | 0 | 0.00012891 | 0 | 0 | 0 | 0
68 | 2040.892 | 2013-06-27 15:33 | 1980.8755 | 2 | 1 | 2.4999 | 3.4512 | 1.3755 | 0 | 4.6777 | 0 | 9.7322e-05 | 0 | 0 | 0 | 0
69 | 2070.9072 | 2013-06-27 15:34 | 2010.8907 | 2 | 1 | 2.4997 | 3.4546 | 1.3963 | 0 | 4.7497 | 0 | 0.00012891 | 0 | 0 | 0 | 0
70 | 2100.9076 | 2013-06-27 15:34 | 2040.891 | 2 | 1 | 2.4999 | 3.4581 | 1.4172 | 0 | 4.8217 | 0 | 9.7322e-05 | 0 | 0 | 0 | 0
71 | 2130.9226 | 2013-06-27 15:35 | 2070.906 | 2 | 1 | 2.4999 | 3.4622 | 1.438 | 0 | 4.8937 | 0 | 0.0001297 | 0 | 0 | 0 | 0
72 | 2160.9383 | 2013-06-27 15:35 | 2100.9218 | 2 | 1 | 2.4999 | 3.4669 | 1.4588 | 0 | 4.966 | 0 | 0.00019339 | 0 | 0 | 0 | 0
73 | 2190.9533 | 2013-06-27 15:36 | 2130.9368 | 2 | 1 | 2.4997 | 3.4719 | 1.4797 | 0 | 5.0383 | 0 | 0.00019399 | 0 | 0 | 0 | 0
74 | 2220.9691 | 2013-06-27 15:36 | 2160.9526 | 2 | 1 | 2.4999 | 3.4781 | 1.5005 | 0 | 5.1107 | 0 | 0.00019399 | 0 | 0 | 0 | 0
75 | 2250.9845 | 2013-06-27 15:37 | 2190.968 | 2 | 1 | 2.4999 | 3.4852 | 1.5214 | 0 | 5.1833 | 0 | 0.00029101 | 0 | 0 | 0 | 0
76 | 2281.0001 | 2013-06-27 15:37 | 2220.9836 | 2 | 1 | 2.4999 | 3.4937 | 1.5422 | 0 | 5.256 | 0 | 0.00032434 | 0 | 0 | 0 | 0
77 | 2311.0148 | 2013-06-27 15:38 | 2250.9983 | 2 | 1 | 2.4999 | 3.5035 | 1.563 | 0 | 5.3289 | 0 | 0.00038918 | 0 | 0 | 0 | 0
78 | 2341.0306 | 2013-06-27 15:38 | 2281.0141 | 2 | 1 | 2.4999 | 3.5155 | 1.5839 | 0 | 5.4021 | 0 | 0.00045129 | 0 | 0 | 0 | 0
79 | 2371.046 | 2013-06-27 15:39 | 2311.0295 | 2 | 1 | 2.4997 | 3.5303 | 1.6047 | 0 | 5.4755 | 0 | 0.00054968 | 0 | 0 | 0 | 0
80 | 2401.0615 | 2013-06-27 15:39 | 2341.045 | 2 | 1 | 2.4996 | 3.5486 | 1.6256 | 0 | 5.5492 | 0 | 0.00064864 | 0 | 0 | 0 | 0
81 | 2431.0764 | 2013-06-27 15:40 | 2371.0599 | 2 | 1 | 2.4999 | 3.5713 | 1.6464 | 0 | 5.6234 | 0 | 0.00083802 | 0 | 0 | 0 | 0
82 | 2461.0766 | 2013-06-27 15:40 | 2401.0601 | 2 | 1 | 2.4999 | 3.5999 | 1.6673 | 0 | 5.6981 | 0 | 0.001067 | 0 | 0 | 0 | 0
83 | 2491.092 | 2013-06-27 15:41 | 2431.0755 | 2 | 1 | 2.4999 | 3.6347 | 1.6881 | 0 | 5.7735 | 0 | 0.0012932 | 0 | 0 | 0 | 0
84 | 2521.107 | 2013-06-27 15:41 | 2461.0905 | 2 | 1 | 2.4997 | 3.6769 | 1.7089 | 0 | 5.8496 | 0 | 0.0015149 | 0 | 0 | 0 | 0
85 | 2551.1223 | 2013-06-27 15:42 | 2491.1058 | 2 | 1 | 2.4999 | 3.726 | 1.7295 | 0 | 5.9257 | 0 | 0.0017837 | 0 | 0 | 0 | 0
86 | 2581.1227 | 2013-06-27 15:42 | 2521.1061 | 2 | 1 | 2.4999 | 3.7834 | 1.7506 | 0 | 6.005 | 0 | 0.0019983 | 0 | 0 | 0 | 0
87 | 2611.1376 | 2013-06-27 15:43 | 2551.1211 | 2 | 1 | 2.4997 | 3.8464 | 1.7714 | 0 | 6.0845 | 0 | 0.0021273 | 0 | 0 | 0 | 0
88 | 2641.1535 | 2013-06-27 15:43 | 2581.1369 | 2 | 1 | 2.4997 | 3.9143 | 1.7923 | 0 | 6.1654 | 0 | 0.0022884 | 0 | 0 | 0 | 0
89 | 2671.1689 | 2013-06-27 15:44 | 2611.1523 | 2 | 1 | 2.4999 | 3.985 | 1.8131 | 0 | 6.2477 | 0 | 0.0023529 | 0 | 0 | 0 | 0
90 | 2701.1838 | 2013-06-27 15:44 | 2641.1672 | 2 | 1 | 2.4999 | 4.0578 | 1.834 | 0 | 6.3315 | 0 | 0.0024173 | 0 | 0 | 0 | 0
91 | 2718.4498 | 2013-06-27 15:44 | 2658.4333 | 2 | 1 | 2.4999 | 4.1001 | 1.846 | 0 | 6.3804 | 0 | 0.0024649 | 0 | 0 | 0 | 0
92 | 2748.4661 | 2013-06-27 15:45 | 30.0158 | 3 | 1 | 1.6658 | 4.1001 | 1.8622 | 0 | 6.4468 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
93 | 2778.4808 | 2013-06-27 15:45 | 60.0305 | 3 | 1 | 1.3465 | 4.1003 | 1.8745 | 0 | 6.4973 | 0 | 0 | 0 | 0 | 0 | 0
94 | 2808.4812 | 2013-06-27 15:46 | 90.0309 | 3 | 1 | 1.1183 | 4.1001 | 1.8848 | 0 | 6.5397 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
95 | 2838.4962 | 2013-06-27 15:46 | 120.0459 | 3 | 1 | 0.94831 | 4.1001 | 1.8934 | 0 | 6.5748 | 0 | 0 | 0 | 0 | 0 | 0
96 | 2868.4964 | 2013-06-27 15:47 | 150.0461 | 3 | 1 | 0.81317 | 4.1001 | 1.9007 | 0 | 6.6049 | 0 | 0 | 0 | 0 | 0 | 0
97 | 2898.5116 | 2013-06-27 15:47 | 180.0613 | 3 | 1 | 0.70458 | 4.1001 | 1.907 | 0 | 6.6307 | 0 | 0 | 0 | 0 | 0 | 0
98 | 2928.5272 | 2013-06-27 15:48 | 210.0769 | 3 | 1 | 0.61569 | 4.1001 | 1.9125 | 0 | 6.6532 | 0 | 0 | 0 | 0 | 0 | 0
99 | 2958.5421 | 2013-06-27 15:48 | 240.0918 | 3 | 1 | 0.54234 | 4.1001 | 1.9173 | 0 | 6.673 | 0 | 0 | 0 | 0 | 0 | 0
100 | 2988.5582 | 2013-06-27 15:49 | 270.1079 | 3 | 1 | 0.48145 | 4.1001 | 1.9216 | 0 | 6.6905 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
101 | 3018.5734 | 2013-06-27 15:49 | 300.1231 | 3 | 1 | 0.42833 | 4.1 | 1.9254 | 0 | 6.706 | 0 | -3.2425e-05 | 0 | 0 | 0 | 0
102 | 3048.5885 | 2013-06-27 15:50 | 330.1382 | 3 | 1 | 0.38425 | 4.1 | 1.9288 | 0 | 6.7199 | 0 | 0 | 0 | 0 | 0 | 0
103 | 3078.5886 | 2013-06-27 15:50 | 360.1383 | 3 | 1 | 0.34577 | 4.1001 | 1.9318 | 0 | 6.7323 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
104 | 3108.6039 | 2013-06-27 15:51 | 390.1536 | 3 | 1 | 0.31325 | 4.1001 | 1.9345 | 0 | 6.7436 | 0 | 0 | 0 | 0 | 0 | 0
105 | 3138.6195 | 2013-06-27 15:51 | 420.1692 | 3 | 1 | 0.2847 | 4.1 | 1.937 | 0 | 6.7538 | 0 | 0 | 0 | 0 | 0 | 0
106 | 3168.6348 | 2013-06-27 15:52 | 450.1845 | 3 | 1 | 0.26031 | 4.1 | 1.9393 | 0 | 6.7631 | 0 | 0 | 0 | 0 | 0 | 0
107 | 3198.65 | 2013-06-27 15:52 | 480.1997 | 3 | 1 | 0.23845 | 4.1 | 1.9414 | 0 | 6.7717 | 0 | -3.2425e-05 | 0 | 0 | 0 | 0
108 | 3228.6655 | 2013-06-27 15:53 | 510.2152 | 3 | 1 | 0.2193 | 4.1 | 1.9433 | 0 | 6.7795 | 0 | 0 | 0 | 0 | 0 | 0
109 | 3258.681 | 2013-06-27 15:53 | 540.2307 | 3 | 1 | 0.20267 | 4.1001 | 1.9451 | 0 | 6.7867 | 0 | 0 | 0 | 0 | 0 | 0
110 | 3288.6964 | 2013-06-27 15:54 | 570.2461 | 3 | 1 | 0.18768 | 4.1 | 1.9467 | 0 | 6.7934 | 0 | 0 | 0 | 0 | 0 | 0
111 | 3318.7117 | 2013-06-27 15:54 | 600.2614 | 3 | 1 | 0.17413 | 4.1 | 1.9482 | 0 | 6.7995 | 0 | 0 | 0 | 0 | 0 | 0
112 | 3348.7272 | 2013-06-27 15:55 | 630.2769 | 3 | 1 | 0.16257 | 4.1 | 1.9496 | 0 | 6.8053 | 0 | -3.2323e-05 | 0 | 0 | 0 | 0
113 | 3378.7421 | 2013-06-27 15:55 | 660.2918 | 3 | 1 | 0.15118 | 4.1 | 1.9509 | 0 | 6.8106 | 0 | 0 | 0 | 0 | 0 | 0
114 | 3408.7422 | 2013-06-27 15:56 | 690.2919 | 3 | 1 | 0.14179 | 4.1 | 1.9521 | 0 | 6.8156 | 0 | -3.2326e-05 | 0 | 0 | 0 | 0
115 | 3438.7577 | 2013-06-27 15:56 | 720.3074 | 3 | 1 | 0.13275 | 4.1 | 1.9533 | 0 | 6.8203 | 0 | 3.2124e-05 | 0 | 0 | 0 | 0
116 | 3468.7731 | 2013-06-27 15:57 | 750.3228 | 3 | 1 | 0.12499 | 4.1001 | 1.9543 | 0 | 6.8247 | 0 | 6.4648e-05 | 0 | 0 | 0 | 0
117 | 3498.788 | 2013-06-27 15:57 | 780.3377 | 3 | 1 | 0.11758 | 4.1001 | 1.9553 | 0 | 6.8289 | 0 | 3.2223e-05 | 0 | 0 | 0 | 0
118 | 3528.8039 | 2013-06-27 15:58 | 810.3536 | 3 | 1 | 0.11107 | 4.1 | 1.9563 | 0 | 6.8328 | 0 | 3.2323e-05 | 0 | 0 | 0 | 0
119 | 3558.8189 | 2013-06-27 15:58 | 840.3686 | 3 | 1 | 0.10457 | 4.1 | 1.9572 | 0 | 6.8365 | 0 | 3.2425e-05 | 0 | 0 | 0 | 0
120 | 3588.819 | 2013-06-27 15:59 | 870.3687 | 3 | 1 | 0.09933 | 4.1001 | 1.9581 | 0 | 6.84 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
121 | 3618.834 | 2013-06-27 15:59 | 900.3837 | 3 | 1 | 0.094452 | 4.1 | 1.9589 | 0 | 6.8433 | 0 | 3.2223e-05 | 0 | 0 | 0 | 0
122 | 3648.8499 | 2013-06-27 16:00 | 930.3996 | 3 | 1 | 0.089935 | 4.1 | 1.9596 | 0 | 6.8464 | 0 | 3.2224e-05 | 0 | 0 | 0 | 0
123 | 3678.8648 | 2013-06-27 16:00 | 960.4145 | 3 | 1 | 0.085419 | 4.0998 | 1.9604 | 0 | 6.8494 | 0 | 0 | 0 | 0 | 0 | 0
124 | 3708.865 | 2013-06-27 16:01 | 990.4147 | 3 | 1 | 0.081624 | 4.1 | 1.9611 | 0 | 6.8523 | 0 | 3.2325e-05 | 0 | 0 | 0 | 0
125 | 3738.8805 | 2013-06-27 16:01 | 1020.4302 | 3 | 1 | 0.07765 | 4.0998 | 1.9617 | 0 | 6.855 | 0 | -3.2224e-05 | 0 | 0 | 0 | 0
126 | 3768.8958 | 2013-06-27 16:02 | 1050.4455 | 3 | 1 | 0.074578 | 4.0998 | 1.9624 | 0 | 6.8576 | 0 | 0 | 0 | 0 | 0 | 0
127 | 3798.9113 | 2013-06-27 16:02 | 1080.461 | 3 | 1 | 0.071326 | 4.1001 | 1.963 | 0 | 6.8601 | 0 | 3.2324e-05 | 0 | 0 | 0 | 0
128 | 3828.9261 | 2013-06-27 16:03 | 1110.4758 | 3 | 1 | 0.068074 | 4.0998 | 1.9635 | 0 | 6.8625 | 0 | 0 | 0 | 0 | 0 | 0
129 | 3858.9421 | 2013-06-27 16:03 | 1140.4918 | 3 | 1 | 0.065545 | 4.0998 | 1.9641 | 0 | 6.8648 | 0 | -3.2224e-05 | 0 | 0 | 0 | 0
130 | 3888.957 | 2013-06-27 16:04 | 1170.5067 | 3 | 1 | 0.063196 | 4.0998 | 1.9646 | 0 | 6.867 | 0 | -3.2224e-05 | 0 | 0 | 0 | 0
131 | 3918.9572 | 2013-06-27 16:04 | 1200.5069 | 3 | 1 | 0.060847 | 4.0998 | 1.9652 | 0 | 6.8691 | 0 | -3.2324e-05 | 0 | 0 | 0 | 0
132 | 3948.9721 | 2013-06-27 16:05 | 1230.5218 | 3 | 1 | 0.058318 | 4.0998 | 1.9657 | 0 | 6.8711 | 0 | -3.2324e-05 | 0 | 0 | 0 | 0
133 | 3978.9722 | 2013-06-27 16:05 | 1260.5219 | 3 | 1 | 0.05615 | 4.1 | 1.9661 | 0 | 6.8731 | 0 | 3.2325e-05 | 0 | 0 | 0 | 0
134 | 4008.9877 | 2013-06-27 16:06 | 1290.5374 | 3 | 1 | 0.054885 | 4.1 | 1.9666 | 0 | 6.875 | 0 | 0 | 0 | 0 | 0 | 0
135 | 4039.0031 | 2013-06-27 16:06 | 1320.5528 | 3 | 1 | 0.052355 | 4.1 | 1.967 | 0 | 6.8768 | 0 | 0 | 0 | 0 | 0 | 0
136 | 4069.0182 | 2013-06-27 16:07 | 1350.5679 | 3 | 1 | 0.051091 | 4.0998 | 1.9675 | 0 | 6.8786 | 0 | 0 | 0 | 0 | 0 | 0
137 | 4080.8779 | 2013-06-27 16:07 | 1362.4275 | 3 | 1 | 0.049826 | 4.0998 | 1.9676 | 0 | 6.8793 | 0 | -3.2224e-05 | 0 | 0 | 0 | 0
138 | 4110.8937 | 2013-06-27 16:08 | 30.0155 | 4 | 1 | 0 | 4.086 | 1.9676 | 0 | 6.8793 | 0 | -0.00041901 | 0 | 0 | 0 | 0
139 | 4140.8934 | 2013-06-27 16:08 | 60.0152 | 4 | 1 | 0 | 4.076 | 1.9676 | 0 | 6.8793 | 0 | -0.00032335 | 0 | 0 | 0 | 0
Note on A1: Data_Point
Note on B1: Test_Time(s)
Note on C1: Date_Time
Note on D1: Step_Time(s)
Note on E1: Step_Index
Note on F1: Cycle_Index
Note on G1: Current(A)
Note on H1: Voltage(V)
Note on I1: Charge_Capacity(Ah)
Note on J1: Discharge_Capacity(Ah)
Note on K1: Charge_Energy(Wh)
Note on L1: Discharge_Energy(Wh)
Note on M1: dV/dt(V/s)
Note on N1: Internal_Resistance(Ohm)
Note on O1: Is_FC_Data
Note on P1: AC_Impedance(Ohm)
Note on Q1: ACI_Phase_Angle(Deg)